## Quotation
QUOTATION — Renovation and Extension, 53 Shlonsky St., Haifa
Employer: Zohar Mor Yosef and Rami Dana ¦ Contractor: [Contractor name] ¦ Date: 14/10/2026 ¦ Quotation no.: [__]
All amounts in GBP (£), excluding VAT, price base October 2026. Unit rates include the contractor's overheads and profit (15%).
Item | Description | Scope | Unit | Qty | Unit rate | Amount | Remarks
Chapter 1 — Preparation and Site Establishment
01.01 | Site establishment | Setting up work and storage areas, workers' facilities and access coordination. | lot | 1 | 2580 | 2580
01.02 | Site hoarding, signage and safety | Temporary hoarding, site and hazard signage, and the safety measures required for the works. | lot | 1 | 1290 | 1290
01.03 | Temporary water connection | Temporary water connection from the approved source, tested. | lot | 1 | 484 | 484
01.04 | Temporary electrical connection | Temporary power connection by a licensed electrician, with protection and testing. | lot | 1 | 970 | 970
01.05 | Protection of existing elements | Protective covers for floors, openings, windows, stairs, railings, walls and plants to be retained. | lot | 1 | 1610 | 1610
01.06 | Survey, verification and laser setting-out | Survey of the existing building, verification against architectural and services drawings, setting-out of positions and levels. | lot | 1 | 970 | 970
01.07 | Waste skip and waste collection area | Skip placement and a waste collection area; removal of waste to a licensed site. | lot | 1 | 2900 | 2900
01.08 | Ongoing site cleaning | Periodic cleaning of work areas and passages throughout the works. | lot | 1 | 2900 | 2900
01.09 | External scaffolding | Erection, rental for the works period (about 4.5 months), maintenance and removal of compliant external scaffolding around the facades, for sawing the decorative concrete frames and the facade plaster works. | m² | 225 | 40.5 | 9112.5 | Provisional quantity – remeasured
Total – Chapter 1 | [5 empty] | 22816.5
Chapter 2 — Demolition, Removals and Disposal
02.01 | Demolition of walls and partitions – basement | Demolition of existing walls and partitions per demolition drawings. | m² | 62 | 38.5 | 2387
02.02 | Demolition of walls and partitions – ground floor | Demolition of existing walls and partitions per demolition drawings. | m² | 51 | 38.5 | 1963.5
02.03 | Demolition of walls and partitions – first floor | Demolition of existing walls and partitions per demolition drawings. | m² | 85 | 38.5 | 3272.5
02.04 | Removal of existing gypsum ceilings | Removal of existing suspended gypsum ceilings. | m² | 10 | 16 | 160
02.05 | Removal of existing flooring | Removal of existing floor finishes. | m² | 40 | 29 | 1160
02.06 | Removal of existing kitchen cabinets | Removal of existing kitchen cabinets, complete. | lot | 1 | 650 | 650
02.07 | Removal of other existing joinery | Removal of other existing cabinets and joinery. | pcs | 1 | 810 | 810
02.08 | Removal of existing aluminium windows and shutters | Complete removal of existing aluminium windows and roller shutters. | lot | 1 | 1940 | 1940
02.09 | Removal of interior and entrance doors and frames | Complete removal of existing interior and entrance doors and frames. | lot | 1 | 1130 | 1130
02.10 | Removal of bathrooms, WCs and sanitary ware | Complete removal of existing bathrooms, WCs and sanitary fixtures. | lot | 1 | 2580 | 2580
02.11 | Removal of electrical points, accessories and light fittings | Removal of existing electrical points, accessories and light fittings. | lot | 1 | 1290 | 1290
02.12 | Removal of existing exposed plumbing | Removal of existing exposed plumbing pipework. | lot | 1 | 970 | 970
02.13 | Removal of existing A/C units | Removal of existing indoor and outdoor air-conditioning units. | lot | 1 | 810 | 810
02.14 | Removal of internal staircase balustrade | Careful removal of the existing balustrade, ahead of strengthening works. | lot | 1 | 650 | 650
02.15 | Sawing and removal of decorative concrete frames | Sawing and removal of decorative concrete frames around windows to obtain a smooth, uniform facade; executed from scaffolding and subject to the structural engineer's written approval. | lm | 47.3 | 55 | 2601.5
02.16 | Waste sorting and removal to licensed site | Sorting, loading and transport of demolition waste to a licensed site, with disposal certificates. | lot | 1 | 9000 | 9000
02.17 | Thorough cleaning after demolition | Thorough cleaning of all areas after demolition. | lot | 1 | 970 | 970
02.18 | Removal of existing wall panels | Removal of existing wall panels throughout the house. | lot | 1 | 1450 | 1450
02.19 | Removal of granolithic flooring | Removal of granolithic flooring in the parking area, entrance and paths. | m² | 103.4 | 32.5 | 3360.5
02.20 | Removal of existing entrance stairs | Removal of the existing entrance stairs, including cutting, loading and removal of waste, ahead of the new floating steps. | lot | 1 | 970 | 970
02.21 | Removal of lawn and garden planting | Removal of existing lawn, shrubs and garden planting in the development areas, including roots, loading and removal to a licensed site. | m² | 65 | 11.5 | 747.5 | Provisional quantity – remeasured
Total – Chapter 2 | [5 empty] | 38872.5
Chapter 3 — Structural Works and Extensions
03.01 | Enlargement of living-room balcony and new pergola | Complete structural works per the structural engineer's drawings and specification. | lot | 1 | 22600 | 22600 | Lump sum – adjusted on receipt of structural drawings
03.02 | New room addition on the gallery level | Complete structural works for the room per structural and architectural drawings, including connections to the existing structure and openings. Finishes and services under their own chapters. | lot | 1 | 38700 | 38700 | Lump sum – adjusted on receipt of structural drawings
03.03 | New entrance and staircase | Complete works for the new entrance and staircase per the structural engineer. | lot | 1 | 12300 | 12300 | Lump sum – adjusted on receipt of structural drawings
03.04 | Strengthening of existing internal staircase | Strengthening per the structural engineer, after removal of the balustrade. | lot | 1 | 5800 | 5800 | Lump sum – adjusted on receipt of structural drawings
03.05 | Floating entrance stairs | 12 new floating (cantilevered) steps at the entrance replacing the existing stairs, approx. 1.15 m wide, including reinforcement, anchoring and preparation for cladding, per structural and architectural drawings. Cladding under item 13.08. | pcs | 12 | 900 | 10800 | Lump sum – adjusted on receipt of structural drawings; Final dimension per existing on site
Total – Chapter 3 | [5 empty] | 90200
Chapter 4 — New Block Wall Partitions
04.01 | New block walls (20 cm) – basement | Block walls per drawings. | m² | 6.3 | 97 | 611.1
04.02 | New block walls (20 cm) – ground floor | Block walls per drawings. | m² | 17.7 | 97 | 1716.9
04.03 | New block walls (20 cm) – first floor and gallery | Block walls per drawings. | m² | 2.08 | 97 | 201.76
Total – Chapter 4 | [5 empty] | 2529.76
Chapter 5 — Plumbing, Sanitary Fixtures and Taps
05.01 | Wall-hung WC pan | Installation, fixing to the support frame, connection to flush system and drainage, and testing. | pcs | 7 | 258 | 1806 | Installation only; supply by the Employer
05.02 | Concealed cistern and support frame | Installation, anchoring, connection to water and WC, and leak test before closing the cladding. | pcs | 7 | 355 | 2485 | Installation only; supply by the Employer
05.03 | Flush plate | Installation matching the concealed cistern and testing. | pcs | 7 | 48.5 | 339.5 | Installation only; supply by the Employer
05.04 | Hydraulic soft-close WC seat | Installation and adjustment. | pcs | 7 | 48.5 | 339.5 | Installation only; supply by the Employer
05.05 | Freestanding washbasin | Installation, fixing, connection to drainage and sealing. | pcs | 1 | 194 | 194 | Installation only; supply by the Employer
05.06 | Wall-mounted tap | Installation and connection. | pcs | 6 | 97 | 582 | Installation only; supply by the Employer
05.07 | Rain shower head | Installation and connection. | pcs | 6 | 145 | 870 | Installation only; supply by the Employer
05.08 | Three-way diverter valve | Installation of three-way diverter (Interpoz-type) valve and trim. | pcs | 10 | 145 | 1450 | Installation only; supply by the Employer
05.09 | Four-way diverter valve | Installation of four-way diverter (Interpoz-type) valve and trim. | pcs | 2 | 194 | 388 | Installation only; supply by the Employer
05.10 | Shower hand-set holder | Installation of hand-shower holder. | pcs | 7 | 81 | 567 | Installation only; supply by the Employer
05.11 | 10/10 linear drain channel (showers) | Installation and connection of drain channel. | pcs | 5 | 210 | 1050 | Installation only; supply by the Employer
05.12 | 110 overflow channel for bathtub | Installation of overflow channel. | pcs | 1 | 484 | 484 | Installation only; supply by the Employer
05.13 | Freestanding bathtub | Installation and connection of freestanding bathtub. | pcs | 1 | 710 | 710 | Installation only; supply by the Employer
05.15 | Bath filler tap | Installation of bath filler tap. | pcs | 1 | 323 | 323 | Installation only; supply by the Employer
05.16 | Kitchen sink | Installed by the countertop supplier. | pcs | 3 | By countertop supplier
05.17 | Kitchen pull-out tap | Installation, connection and function test. | pcs | 5 | 145 | 725 | Installation only; supply by the Employer
05.18 | Outdoor kitchen sink | Installed by the countertop supplier. | pcs | 2 | By countertop supplier
05.19 | Outdoor pull-out tap | Installation and connection. | pcs | 2 | 145 | 290 | Installation only; supply by the Employer
05.20 | Countertop basin / trough – guest WC | Installation and connection. | pcs | 1 | 210 | 210 | Installation only; supply by the Employer
05.21 | Nile tap | Installation of tap. | pcs | 11 | 58 | 638 | Installation only; supply by the Employer
05.22 | Tap with vanity unit – assembly | Installation of tap and vanity unit as an assembly. | pcs | 1 | 580 | 580 | Installation only; supply by the Employer
05.23 | 60 external overflow channel | Installation of external overflow channel. | pcs | 1 | 387 | 387 | Installation only; supply by the Employer
05.24 | Bar sink | Installation and connection. | pcs | 2 | 177 | 354 | Installation only; supply by the Employer
05.25 | Hot and cold water point | Supply pipework and point. | pt | 23 | 387 | 8901
05.26 | Cold water point for cistern | Supply pipework and point. | pt | 7 | 161 | 1127
05.27 | Sewage point for WC | Drainage pipework and point. | pt | 7 | 226 | 1582
05.28 | Drain point for basin and bathtub | Drainage pipework and point. | pt | 15 | 145 | 2175
05.29 | Water and drain point for washing machine | Supply and drain points. | pt | 2 | 290 | 580
05.30 | Utility (bucket) tap | Installation of utility tap. | pcs | 2 | 58 | 116
05.32 | Main supply lines and floor manifolds | Main water supply lines and floor-level manifolds. | lot | 1 | 6500 | 6500
05.33 | Main sewage and drainage system | Main sewage and drainage system. | lot | 1 | 5800 | 5800
05.34 | Water heater – installation and connection | Installation and connection of water heater. | pcs | 1 | 387 | 387 | Installation only; supply by the Employer
05.35 | Pressure and leak tests, as-built drawings | Testing of the plumbing systems and as-built documentation. | lot | 1 | 810 | 810
Total – Chapter 5 | [5 empty] | 42750
Chapter 6 — Electrical Works
06.01 | Standard socket point | Wiring to the relevant circuit, accessory and test. | pcs | 119 | 141 | 16779
06.02 | Waterproof socket point | Waterproof socket point (IP44 or above). | pcs | 51 | 167 | 8517
06.03 | Infrastructure for electric roller shutter | Conduit and wiring for electric shutter operation. | pcs | 18 | 198 | 3564
06.05 | Three-phase socket point | Three-phase socket point. | pcs | 1 | 470 | 470
06.06 | Extension of main distribution board | Extension of the main board for the total added load. | lot | 1 | 2740 | 2740
06.07 | Electricity company pillar – supply and installation | Supply and installation of the new electricity company pillar at the plot entrance. | lot | 1 | 2260 | 2260
06.09 | Final electrical inspection | Final inspection by a certified inspector, certificate and test report. | lot | 1 | 810 | 810
06.10 | Power socket point | Power socket point. | pcs | 9 | 198 | 1782
06.11 | Supply point for A/C unit | Dedicated supply point for an A/C unit. | pt | 8 | 391 | 3128
06.12 | Direct connection to the board – hob, oven and dedicated appliances | Direct connection to the distribution board on a dedicated line with separate protection for each appliance (hob, oven, dishwasher, dryer and other dedicated loads), including cable, conduit, final connection and testing. | lot | 1 | 1830 | 1830
06.13 | Boiler switch with indicator light | Boiler switch with indicator light. | pcs | 1 | 183 | 183
Total – Chapter 6 | [5 empty] | 42063
Chapter 7 — Lighting and Light Switches
07.01 | Lighting switches (single) | Installation of lighting switches. | pcs | 62 | 78 | 4836
07.02 | Two-way switches | Installation of two-way switches. | pcs | 16 | 104 | 1664
07.02a | Intermediate (cross) switch | Installation of an intermediate (cross) switch on a lighting circuit controlled from three or more places, between the two-way switches, including finish accessory, intermediate wiring and testing. | pcs | 3 | 125 | 375
07.03 | Ceiling-mounted light fitting | Installation, electrical connection and test. | pcs | 15 | 115 | 1725 | Installation only; supply by the Employer
07.04 | Pendant light fitting | Installation, suspension system, height adjustment per plan, connection and test. | pcs | 22 | 167 | 3674 | Installation only; supply by the Employer
07.05 | Protected wall light fitting | Installation and connection. | pcs | 30 | 115 | 3450 | Installation only; supply by the Employer
07.06 | Protected recessed wall light fitting | Installation and connection. | pcs | 35 | 157 | 5495 | Installation only; supply by the Employer
07.07 | Recessed spot in gypsum ceiling | Installation and connection. | pcs | 25 | 44.5 | 1112.5 | Installation only; supply by the Employer
07.08 | Concealed LED strip | Installation of concealed LED strip. | pcs | 11 | 183 | 2013 | Installation only; supply by the Employer
07.09 | Recessed linear fitting in gypsum | Installation of recessed linear fitting. | pcs | 2 | 235 | 470 | Installation only; supply by the Employer
07.10 | Surface-mounted linear fitting | Installation of ceiling-mounted linear fitting. | pcs | 9 | 157 | 1413 | Installation only; supply by the Employer
07.11 | LED strip feed point | Feed point for LED strip. | pcs | 25 | 146 | 3650 | Installation only; supply by the Employer
07.12 | Waterproof light fitting | Installation and connection. | pcs | 8 | 125 | 1000 | Installation only; supply by the Employer
07.13 | Wall light fitting | Installation and connection. | pcs | 5 | 104 | 520 | Installation only; supply by the Employer
07.14 | Recessed wall light fitting | Installation and connection. | pcs | 10 | 157 | 1570 | Installation only; supply by the Employer
07.15 | Ceiling fan with light | Installation and connection. | pcs | 6 | 271 | 1626 | Installation only; supply by the Employer
07.17 | Surface-mounted cylinder spot | Installation, connection and test. | pcs | 111 | 52 | 5772 | Installation only; supply by the Employer
07.19 | Recessed spots in gypsum (clusters) | Installation of recessed spot clusters. | pcs | 28 | 89 | 2492 | Installation only; supply by the Employer
07.20 | General lighting feed point | General lighting feed point. | pcs | 14 | 157 | 2198
Total – Chapter 7 | [5 empty] | 45055.5
Chapter 9 — Gypsum Partitions and Ceilings
09.01 | Gypsum partitions and walls – basement | Metal track and studs, boards, acoustic insulation, moisture-resistant boards in wet areas. | m² | 64 | 66 | 4224
09.02 | Gypsum partitions and walls – ground floor | Metal track and studs, boards, acoustic insulation, moisture-resistant boards in wet areas. | m² | 17 | 66 | 1122
09.03 | Gypsum partitions and walls – first floor and gallery | Metal track and studs, boards, acoustic insulation, moisture-resistant boards in wet areas. | m² | 52 | 66 | 3432
09.04 | Suspended gypsum ceilings | Hangers, carrying profiles and boards, with openings coordinated for lighting and A/C. Skim coat and paint under chapter 14. | m² | 33.3 | 57 | 1898.1
Total – Chapter 9 | [5 empty] | 10676.1
Chapter 10 — Internal Waterproofing
10.01 | Waterproofing – wet-area walls | Wall waterproofing in wet areas, as directed by the waterproofing consultant. | m² | 186 | 35.5 | 6603
10.03 | Flood tests – wet areas | Flood test for each wet area. | lot | 5 | 161 | 805
10.04 | Balcony waterproofing | Waterproofing of balconies. | m² | 52.7 | 55 | 2898.5
Total – Chapter 10 | [5 empty] | 10306.5
Chapter 12 — Window Sills and Sealing
12.01 | Internal window sills | Stone / marble sills, after final measurement. | lm | 33.23 | 91 | 3023.93
12.02 | External window sills | External sills. | lm | 35 | 80 | 2800
12.04 | Window sealing | Sealing of windows around the frames, including preparation of the opening, filling and sealing with suitable material and tightness check. | lm | 68.23 | 19.5 | 1330.49
Total – Chapter 12 | [5 empty] | 7154.42
Chapter 13 — Flooring, Wall Tiling and Cladding
13.01 | Interior floor tiling 120×120 cm incl. shower floors | Laying after waterproofing approval, including substrate preparation, adhesive, cutting, falls to drains and grouting. Tiles supplied by the Employer. | m² | 219.9 | 75 | 16492.5 | Installation only; supply by the Employer
13.02 | Basement floor tiling 120×60 cm | Laying including substrate preparation, adhesive and grouting. Tiles supplied by the Employer. | m² | 105 | 61 | 6405 | Installation only; supply by the Employer
13.03 | Shower wall tiling 120×60 cm | Wall tiling including adhesive, cutting and grouting. Tiles supplied by the Employer. | m² | 121.2 | 112 | 13574.4 | Installation only; supply by the Employer
13.04 | Skirting / panels from finish tiles | Cutting and fixing of panels from the selected finish tiles. | lm | 285 | 20 | 5700
13.05 | External and balcony tiling 120×60 cm, R11 | Laying of external tiles with slip resistance R11. Tiles supplied by the Employer. | m² | 263.7 | 69 | 18195.3 | Installation only; supply by the Employer
13.07 | Interior stair cladding (tread and riser) | Cladding of interior stairs, tread and riser. | lm | 51.7 | 85 | 4394.5
13.08 | Entrance stairs cladding | Cladding of the new entrance stairs with R10 external tiles, tread and riser. Final dimension per the existing situation on site. | lm | 13.8 | 91 | 1255.8 | Final dimension per existing on site
Total – Chapter 13 | [5 empty] | 66017.5
Chapter 14 — Plaster, Skim Coat and Paint
14.01 | Facade preparation and coloured plaster | Preparation and repair of the facade substrate (including areas of removed frames) and application of the approved coloured plaster system. Scaffolding under item 01.09. | m² | 225 | 68 | 15300
14.02 | Plaster repairs, skim coat and interior paint | Plaster repairs to internal walls and ceilings, levelling with skim coat and painting with quality acrylic paint, including preparation, protection and cleaning, until the designer's approval. Excludes public areas. | m² | 576 | 45 | 25920
14.03 | American skim coat and paint – public areas | American-style skim finish with smooth surface on public-area walls, including substrate preparation, sanding and durable paint. Deducted from item 14.02 on measurement. | m² | — | 58 |  | Quantity per measurement on site
Total – Chapter 14 | [5 empty] | 41220
Chapter 17 — External Development
17.01 | Earthworks and levelling of development areas | Shaping of levels and soil compaction per the approved plan. | m² | 60 | 24 | 1440
17.02 | Storm-water drainage system | Storm-water drainage. | lot | 1 | 3230 | 3230
17.04 | Landscaping, automatic irrigation and garden taps | Planting areas, irrigation system and 11 garden taps; plant types to be defined. | lot | 1 | 9000 | 9000
17.05 | Garden lighting incl. electrical connection | Garden lighting and electrical connection. | lot | 1 | 2900 | 2900
17.06 | Concrete paths | Casting of concrete paths: excavation and levelling, compacted base layer, formwork, reinforcement mesh, concrete 10 cm thick, brushed or trowelled finish, expansion joints and curing, including all required path construction. | m² | 60 | 86 | 5160 | Provisional quantity – remeasured
Total – Chapter 17 | [5 empty] | 21730
Total before VAT | [5 empty] | 441391.78
VAT |  |  |  |  | 20% | 88278.36 | VAT rate (to be confirmed)
TOTAL INCLUDING VAT | [5 empty] | 529670.14

## Summary
Summary of Quotation
Chapter | Amount | % of total
1. Preparation and Site Establishment | 22816.5 | 5.169%
2. Demolition, Removals and Disposal | 38872.5 | 8.807%
3. Structural Works and Extensions | 90200 | 20.44%
4. New Block Wall Partitions | 2529.76 | 0.5731%
5. Plumbing, Sanitary Fixtures and Taps | 42750 | 9.685%
6. Electrical Works | 42063 | 9.53%
7. Lighting and Light Switches | 45055.5 | 10.21%
9. Gypsum Partitions and Ceilings | 10676.1 | 2.419%
10. Internal Waterproofing | 10306.5 | 2.335%
12. Window Sills and Sealing | 7154.42 | 1.621%
13. Flooring, Wall Tiling and Cladding | 66017.5 | 14.96%
14. Plaster, Skim Coat and Paint | 41220 | 9.339%
17. External Development | 21730 | 4.923%
Total before VAT | 441391.78
VAT (20%) | 88278.36
TOTAL INCLUDING VAT | 529670.14

## Terms & Exclusions
# | Terms & Exclusions
1 | Basis | The quotation is based on the Technical Specification Book (rev. 20, 06/07/2026), the architectural drawings "New Construction" – ground and first floor (17/09/2026) and the Contractor Quantity Schedule dated 24/09/2026. Where documents differ, the schedule of 24/09/2026 was used.
2 | Quantities | Quantities per the above documents. Items marked "provisional" or "per measurement on site" will be remeasured; the final account follows quantities actually executed.
3 | Structure | Chapter 3 (balcony and pergola, gallery room, entrance and stairs, strengthening of internal stairs) is a lump sum per the structural engineer's drawings; the price will be adjusted on receipt of the complete structural drawings.
4 | Supply | Sanitary ware and taps, light fittings, air-conditioning units, water heaters and floor and wall tiles are supplied by the Employer; the Contractor installs. Kitchen sinks are installed by the countertop supplier.
5 | Exclusions | Swimming pool; carpentry (kitchen, bathroom and wardrobe cabinets); aluminium windows and doors, interior and entrance doors, gates and shutters; parapet works; furniture; permits and fees; consultants' fees (structural, waterproofing, lighting); electricity company charges for the supply upgrade.
6 | Tests | Required tests and approvals (structural engineer, waterproofing consultant, certified electrical inspector, flood and pressure tests) are included.
7 | Prices | Prices in GBP, excluding VAT, price base October 2026, no indexation unless agreed otherwise.
8 | Commercial terms | Validity: [__ days] ¦ Payment terms: [__] ¦ Programme: [__]

## Market survey (internal)
Category | Market data found (2026) | Sources
Plasterboard stud partition | £30–£65/m²; acoustic / insulated £55–£100/m² | trade2base.com/blog/stud-wall-costs-uk ; trade2base.com/blog/dry-lining-costs-uk ; fantasticservices.com/cost-guides/handyman/plastering/
Large-format porcelain floor tiling (labour) | £50–£80/m² (labour only); London/South East +20–30% | trade2base.com/blog/tiling-pricing-guide-uk ; myjobquote.co.uk/questions/large-format-tile-installation-cost
New socket point (electrician) | £100–£250 per socket (new location) | fantasticservices.com/cost-guides/electrical/socket-replacement/ ; myjobquote.co.uk/costs/new-plug-sockets
Interior painting | £14–£26/m² (prep, 2 coats, materials); skim coat adds £12–£20/m² | bestbuilders.co.uk/costs/painting-cost-calculator ; trade2base.com/blog/painting-decorating-costs-uk
Concrete path | £60–£90/m² supplied and laid (2026) | trade2base.com/blog/garden-path-costs-uk ; less.co.uk/home-improvements/driveways/concrete-cost
Scaffolding | ≈ £22.5/m² (one listing); typical house £1,500–£3,500 erected, hired, dismantled | checkatrade.com (GU6 listing) ; lakeside-hire.co.uk ; less.co.uk/home-improvements/scaffolding/cost
Exchange rate | ≈ 4.10 ILS per GBP (9 Sep 2026 snapshot 4.0953; October values are forecasts only) | longforecast.com/gbp-ils ; ofx.com
Method: each unit rate = Israeli renovation-level base rate (ILS) × category multiplier ÷ exchange rate, then + 15% overheads and profit. Multipliers were calibrated on the anchors below (partition, tiling, electrical points, painting, concrete path, scaffolding); trades without an anchor use the average multiplier of the anchored ones. Calibration multipliers: part=0.62, tile=0.95, elec=1.86, paint=1.6, conc=0.77, scaf=1.69, gen=1.15. FX 4.1 ILS/GBP.
Caveats: sources are mostly trade/lead-generation websites with wide, partly undated ranges; no official price book was used. The site is in Haifa, Israel – rates are UK market reference rates and were not adjusted for Israeli site conditions or logistics. English version assumes the UK market (GBP); confirm if another English-speaking market (e.g. USA/USD) is intended. All prices should be verified against supplier quotations before submission.